Detailed description of the subject matter of the contract

Servicing the Sciex TripleTOF 5600+ mass spectrometer for the Faculty of Chemistry 
of the University of Gdańsk

- Stage I:

- repairing the detector (defective voltage control board);

- testing the spectrometer;

- changing oil;

- cleaning and maintenance of the entire system.

- Stage II:

Spectrometer inspection that covers:

- testing the spectrometer;

- cleaning and maintenance of the entire system;

- identifying the defects and pricing of the parts, components and/or materials necessary for the spectrometer correct operation;

- repairing the identified defects after the Contracting Authority has accepted the pricing referred to in § 5 sec. 3 pt. 3 of Appendix 4 to the ToR.

- Stage III:

Spectrometer inspection that covers:

- testing the device;

- cleaning and maintenance of the entire system:

- identifying the defects and pricing of the parts, components and/or materials necessary for the spectrometer correct operation;

- repairing the identified defects after the Contracting Authority has accepted the pricing referred to in § 5 sec. 3 pt. 3 of Appendix 4 to the ToR.

- The service shall be provided at: the Faculty of Chemistry of the University of Gdańsk, ul. Wita Stwosza 63, 80-308 Gdańsk, room B132.